{"text_format":"3","workbook":"xls","n_sheets":6,"sheets":["表1","表2","表3","表4","附件1","附件2"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"表1","index":0,"n_rows":38,"n_cols":7,"rows_kept":38,"merged":[[0,0,0,6],[2,0,30,0],[3,1,7,1],[9,1,30,1],[31,0,36,0],[32,1,36,1],[37,0,37,2]],"flags":["formulas_cached_only"]}
["表1   外包楼宇情况一览表"]
["校区","区域","名 称","楼栋数","层高","建筑面积（m2）","备注"]
["旗山\n校区","名师苑","名师苑",5,"2、3",1409]
[null,"宿舍区","学生公寓",12,"6、7",96667.43]
[null,null,"生活区综合楼",1,5,12300]
[null,null,"食堂附属用房",1,1,290]
[null,null,"大棚、垃圾站及管理房",1,1,582]
[null,null,"学生创新中心",1,2,840]
[null,"图书馆","图书馆",1,"2、6",25163]
[null,"教学","自强楼",1,5,13770]
[null,null,"厚德楼",1,"1、2、5",12423.2]
[null,null,"至善楼",1,5,13492]
[null,null,"精诚楼",1,5,12306]
[null,null,"明德楼",1,"3、5",6300]
[null,null,"明德楼档案库房",1,5,383.9]
[null,null,"求真楼",1,5,8236]
[null,null,"五行楼",1,5,15930.53]
[null,null,"室内训练馆",1,2,4061]
[null,null,"田径场看台下场馆",1,0,2388]
[null,null,"延平学生活动中心",1,2,1628.85]
[null,null,"中医药文化博物馆",1,3,9976]
[null,null,"科研附属用房",1,2,568]
[null,null,"实验动物中心",1,4,2197]
[null,null,"实验中心实验用房",1,5,1491.64]
[null,null,"中国康复产业研究院",1,5,11890]
[null,null,"海外教育学院综合楼",1,"2、5",10327]
[null,null,"中医实训楼",1,"3、5",11083]
[null,null,"小白楼",1,4,864]
[null,null,"中药炮制室",1,1,337]
[null,null,"教学综合楼",1,"2、3、4、5",17513.74,"拟于2025年9月投入使用"]
[null,null,"车库","1、2",null,620]
["屏山校区","宿舍区","学生公寓",5,5,15983.86]
[null,"教学","白楼",1,3,2962]
[null,null,"思源楼",1,4,100]
[null,null,"33#人才公寓",1,5,4140]
[null,null,"24#（含原后勤办公楼）",1,5,2037,"拟于2025年9月投入使用"]
[null,null,"杏苑科技馆",1,null,2660]
["合计",{"$nulls":4},322921.15]

{"sheet":"表2","index":1,"n_rows":17,"n_cols":6,"rows_kept":17,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["表2     会议室、报告厅等场馆一栏表"]
["序号","场馆名称","场馆类型","使用面积（㎡）","座位数","备注"]
[1,"旗山学术报告厅","报告厅",892,445]
[2,"屏山学术报告厅","报告厅",320,200]
[3,"第二学术报告厅","报告厅",319.7,240]
[4,"218会议室","会议室",121.55,50]
[5,"219会议室休息室","会议室休息室",25.01,10]
[6,"312会议室","会议室",37.36,"10-15"]
[7,"313会客厅","会议室",180,20]
[8,"315会议室","会议室",187.2,120]
[9,"317会议室","会议室",121.55,30]
[10,"318休息室","休息室",25.01,10]
[11,"四楼会议室","会议室",44.43,"10-15"]
[12,"410会客室","会客室",32,6]
[13,"506会议室","会议室",34.62,"10-15"]
[14,"名师苑22号楼","会议室",40,15]
[15,"名师苑22号楼","会议室",25,12]

{"sheet":"表3","index":2,"n_rows":26,"n_cols":5,"rows_kept":26,"merged":[[0,0,0,4],[2,0,5,0],[7,0,9,0],[10,0,12,0],[14,0,20,0],[15,2,16,2],[18,2,19,2],[23,0,25,0]],"flags":["formulas_cached_only"]}
["表3 物业管理服务人员岗位设置需求表"]
["部门","岗位","人员要求","人数","工资"]
["服务中心","项目经理","拟投入的项目经理具有本科及以上学历，中级及以上专业技术任职资格证，具有五年以上物业服务管理经验。"]
[null,"经理助理","具有专科及以上学历证书，熟悉各类办公软件操作，较强的沟通能力和语言表达能力和有一定的人事管理能力，形象好。"]
[null,"宿舍区主管","要求具有专科及以上学历，或具有中级及以上专业技术任职资格证且熟悉学生公寓管理，有物业管理经验，具有较高的政治思想素质和服务水平，善于沟通协调。"]
[null,"服务中心客服专员","女，年龄45周岁（含）以下，身体健康，形象气质佳，大专及以上学历，熟悉办公软件，受过礼仪培训，有较好的沟通协调能力。"]
["教室管理","多媒体教室服务人员","男，60周（含）岁以下，女，55周（含）岁以下，身体健康，大专（含）以上学历，熟悉多媒体教学设备性能，具备独立处理多媒体设备一般故障的能力。"]
["零星修缮部","维修主管","拟投入维修主管具有专科及以上学历，且具有工程维保相关类别证书且具备物业维修服务项目管理经验。"]
[null,"水电五金维修工","男，60周岁（含）及以下，身体健康。水电工应持证上岗，电工应具备相关电工证，不得无证上岗，电工证应报备校方备案。电梯管理人员须有电梯安全管理员证。"]
[null,"高压电房值班人员","持有相关电工类证件。24小时值班，值班及相关工作由校方安排和考核。"]
["绿化服务部","绿化主管"]
[null,"普通绿化工"]
[null,"饲养员"]
["宿舍楼管","楼管员","男，60周岁（含）以下，女，55周岁（含）以下，初中以上学历，身体健康，男女比例根据校方需要进行安排。"]
["保洁服务部","保洁主管","要求具有专科及以上学历，或具有中级专业技术任职资格证，有物业经验，具有较高的政治思想素质和服务水平，善于沟通协调。"]
[null,"宿舍楼楼内保洁","男，60周岁（含）以下，女，55周岁（含）以下，身体健康，能胜任保洁工作。"]
[null,"生活区外环境保洁"]
[null,"行政教学区保洁主管","要求具有专科及以上学历，或具有中级专业技术任职资格证，有物业经验，具有较高的政治思想素质和服务水平，善于沟通协调。"]
[null,"教室保洁","男，60周岁（含）以下，女，55周岁（含）以下，身体健康，能胜任保洁工作。"]
[null,"教学行政公共区域保洁"]
[null,"垃圾分类管理员","男，60周岁（含）以下，女，55周岁（含）以下，身体健康，具备垃圾分类知识，能胜任垃圾分类工作。"]
["处级干部值班室","服务人员","女，年龄55周岁（含）以下，身体健康。"]
["客房服务","名师苑客房、餐厅、会议服务员","女，年龄50周岁（含）以下，初中以上学历，身体健康，须持有相关上岗作业证。"]
["场馆服务","会务主管","要求具有专科及以上学历，有会务管理经验，具有较高的政治思想素质和服务水平，善于沟通协调。"]
[null,"会场服务员","女，年龄50周岁（含）以下，初中以上学历，身体健康。"]
[null,"体育馆服务员","男，60周（含）岁以下，女，55周岁以下，初中以上学历，身体健康，男女比例根据校方需要进行安排。"]

{"sheet":"表4","index":3,"n_rows":16,"n_cols":4,"rows_kept":16,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["表4     外包方需配备基本设备清单（包含但不限于）"]
["序号","设施设备","数量","备注"]
[1,"铝合金梯","3台"]
[2,"管道疏通机","3台"]
[3,"冲击钻","3台"]
[4,"电锤","3台"]
[5,"砂轮切割机","3台"]
[6,"吸尘器","2台"]
[7,"洗地机","5台"]
[8,"高压水枪","5个"]
[9,"洒水车（3T以上）","1台"]
[10,"绿篱机",3]
[11,"割草机",3]
[12,"对讲机","20部"]
[13,"推车","5辆"]
[14,"移动升降机","1台"]

{"sheet":"附件1","index":4,"n_rows":81,"n_cols":4,"rows_kept":81,"merged":[[0,0,0,3],[2,0,7,0],[8,0,13,0],[14,0,25,0],[26,0,36,0],[37,0,46,0],[47,0,48,0],[49,0,52,0],[53,0,60,0],[61,0,62,0],[63,0,66,0],[63,3,66,3],[67,0,76,0],[77,0,80,0]],"flags":["formulas_cached_only"]}
["附件1\n        单体、单件材料费在300元（含）以下维修项目清单"]
["分类","序号","项目","备注"]
["一、各类门（入户门、阳台门、浴室门、窗户、卫生间门等）维修",1,"门锁维修（更换）、毕业生换锁或锁芯更换、配钥匙"]
[null,2,"门把手、窗户执手维修"]
[null,3,"门、窗户合页维修"]
[null,4,"门栓（插销）维修"]
[null,5,"门滑轮维修"]
[null,6,"宿舍晾衣绳、晾衣架维修"]
["二、各类下水道堵塞疏通",7,"阳台下水道堵塞疏通","含阳台天沟积水疏通"]
[null,8,"洗衣池下水道堵塞疏通"]
[null,9,"洗衣池补漏"]
[null,10,"浴室下水道堵塞疏通"]
[null,11,"厕所马桶下水道堵塞疏通"]
[null,12,"楼道、大厅、天台等公共下水管道堵塞疏通"]
["三、供排水",13,"更换水龙头"]
[null,14,"更换三角阀"]
[null,15,"宿舍供水阀门维修更换"]
[null,16,"浮球阀维修更换"]
[null,17,"各类供给水管（太阳能、浴室热水器、厕所、阳台等）漏水(爆管）维修"]
[null,18,"洗衣池下水道改管"]
[null,19,"洗衣池落水管漏水维修(更换）"]
[null,20,"更换厕所水箱排水管"]
[null,21,"更换厕所冲水阀（小便池、大便池）"]
[null,22,"更换下水道排水主管"]
[null,23,"检修、拆换水表"]
[null,24,"补充各类地漏盖"]
["四、电",25,"跳闸送电"]
[null,26,"更换小型自动空气开关(63A以下)"]
[null,27,"更换漏电保护开关"]
[null,28,"更换空调、热水器转换开关"]
[null,29,"维修各类吸顶灯、电灯（节能灯、日光灯、指示灯等），更换灯管或配齐灯罩","包含吸顶灯连底座整体更换"]
[null,30,"各类电源开关（插座）维修（更换）","不包括批量安装新插座"]
[null,31,"零星新插座安装（原来没有，含线路）"]
[null,32,"镇流器更换安装"]
[null,33,"风扇调速器维修更换"]
[null,34,"配电箱维修"]
[null,35,"电源线路维修、检测、布线（5米以内）"]
["五、土木",36,"学生宿舍、食堂综合楼公共区域及自营餐厅内部、公共教室室内及楼梯、走道、大厅、厕所等公共区域零星粉刷修补","单个点位3平方米以下，"]
[null,37,"宿舍书柜、衣柜、桌椅维修，含五金配件维修，抽屉、抽屉轨道、板材更换"]
[null,38,"洗衣池花岗岩板材破损更换"]
[null,39,"各类台阶花岗岩板材破损更换"]
[null,40,"大厅、走廊、楼梯等踢脚线、瓷砖、广场砖、水泥沟盖、井盖拱起、松动、破损更换","单个点位连续拱起、松动、破损20块以下"]
[null,41,"马桶水箱、排水管维修（含零星整体更换）","批量更换校方负责"]
[null,42,"吊顶维修","点个点位连续20块以下"]
[null,43,"教学区、生活区公共厕所门扣、合页维修（更换）"]
[null,44,"教学区、生活区公共厕所门隔板维修（更换）"]
[null,45,"宿舍及公共卫生间马桶、蹲便器破碎更换"]
["六、电风扇",46,"排气扇维修更换"]
[null,47,"电风扇维修（更换）"]
["七、浴室热水器",48,"维修更换温控、超温保护器"]
[null,49,"维修更换花洒、软管"]
[null,50,"维修更换漏电保护、加热管"]
[null,51,"维修更换混水阀、U型阀"]
["八、各类电焊",52,"铝合金焊接"]
[null,53,"课桌椅电焊"]
[null,54,"入户门电焊"]
[null,55,"蚊帐架电焊"]
[null,56,"各类栏杆维修电焊"]
[null,57,"防盗网维修电焊"]
[null,58,"床架电焊"]
[null,59,"宿舍晾衣绳维修"]
["九、玻璃更换",60,"各类门玻璃破碎更换"]
[null,61,"各类窗户玻璃更换"]
["十、拆装",62,"零星拆装、搬运热水器","批量除外"]
[null,63,"零星拆装、搬运课桌椅"]
[null,64,"零星拆装、搬运空调"]
[null,65,"零星家具、床架拆除、搬运"]
["十一、教室设施",66,"课桌椅维修"]
[null,67,"电铃维修及与其相关的电源线路检测、维修"]
[null,68,"电铃控制器维修更换"]
[null,69,"黑板维修","包含滚轮、绳索等各组件"]
[null,70,"白板维修"]
[null,71,"讲台维修","含锁匙"]
[null,72,"窗帘杆维修（加固、更换）"]
[null,73,"窗帘布头维修（更换）"]
[null,74,"钟表、打铃设备维修、校正","含更换电池"]
[null,75,"教室门锁维修","含更换电池"]
["十二、毒害生物防治",76,"宿舍内老鼠灭杀"]
[null,77,"红火蚁灭杀"]
[null,78,"马蜂窝清除"]
[null,79,"白蚁灭杀"]

{"sheet":"附件2","index":5,"n_rows":48,"n_cols":7,"rows_kept":48,"merged":[[0,0,0,6],[1,1,1,3],[2,1,2,3],[3,1,3,3],[4,0,5,0],[4,1,4,5],[5,2,5,3],[6,2,6,3],[7,1,8,1],[7,2,7,3],[8,2,8,3],[9,2,9,3],[10,1,10,3],[11,1,11,3],[12,1,12,3],[13,1,13,3],[14,1,14,3],[15,1,15,3],[16,1,16,3],[17,1,17,3],[18,1,18,3],[21,1,21,3],[22,1,22,3],[24,1,24,3],[25,1,25,3],[26,1,26,3],[27,1,27,3],[28,1,28,3],[29,1,29,3],[30,1,30,3],[31,1,31,3],[32,1,32,3],[33,1,33,3],[34,1,34,3],[35,1,35,3],[36,1,36,3],[37,1,37,3],[38,1,38,3],[39,1,39,3],[40,1,40,3],[41,1,41,3],[42,1,42,3],[43,1,43,3],[44,1,44,3],[46,0,46,2],[47,0,59,6]],"flags":["formulas_cached_only"]}
["附件2：\n                                 年度服务成本测算（旗山、屏山校区）"]
["序号","项目",null,null,"月费用（元/月）","年费用（元/年）","备注"]
["一","用工成本"]
["（一）","薪资成本"]
["（二）","人工其他成本"]
[null,"项目","标准",null,"月费用（元/月）","年费用（元/年）"]
[1,"福利费用"]
[2,"保险费用","个人保险"]
[3,null,"其他相关保险"]
[null,"合计"]
["二","综合运营成本",{"$nulls":4},"含加班费；办公、场馆、会务、保洁、绿化耗材、动物饲料等"]
["三","具体类别",null,null,"月费用（元/月）","年费用（元/年）"]
[null,"合计"]
["（一）","工程服务",null,null,0,0]
[1,"电梯年检、维保",null,null,"/","/","甲方负责"]
[2,"空调维保、清洗",null,null,"/","/","甲方负责"]
[3,"大型发电机维护费",null,null,"/","/","甲方负责"]
[5,"高压电房维保费用",null,null,"/","/","甲方负责"]
[6,"给排水设备维护费用",null,null,"/","/","甲方负责"]
[7,null,"公共建筑防雷检测服务",null,"/","/","甲方负责"]
[8,null,"二次供水水池清洗服务"]
[9,"化粪池、雨污管网等清掏清理费用",{"$nulls":4},"服务期内由甲方负责（年）。"]
[10,"零星维修材料费用",{"$nulls":4},"300元以下"]
[11,null,"   零星土木维修费用"]
[12,"小型工器具费用"]
[13,"设备费用"]
[null,"合计",{"$nulls":3},0]
["（二）","保洁服务"]
[1,"旗山校区生活及绿化垃圾清运"]
[2,"屏山校区生活及绿化垃圾清运"]
[3,"小型工器具费用"]
[4,"设备费用"]
[null,"合计",{"$nulls":3},0]
["（三）","绿化服务"]
[1,"时花更换成本（包括花坛、花径等时花种植更换）"]
[2,"室内绿化租摆",null,null,"/","/","甲方负责"]
[3,"花镜花草种植养护"]
[4,"旗山、屏山校区绿地打草",{"$nulls":4},"一年2次以上全区域打草"]
[5,"高大树木修剪",{"$nulls":4},"一年2次"]
[6,"小型工器具费用"]
[7,"设备费用"]
[null,"合计"]
["四","企业管理费"]
["五","税费"]
["六","年度费用总计"]
[]
[]
["   本询价材料未列出具体数字的请意向方自行估算，未体现的事项可根据服务内容及要求自行补充，本询价材料非正式招标文件，结果仅做为校方参考。未尽事宜可咨询林老师，电话0591-22861053。上班时间：上午8:30-12:00，下午14:30-17:00。"]